## Optical Data
Current (mA) | Current Density (mA/cm^2) | Voltage (V) | Luminance (cd/m^2) | Yield (cd/A) | Radiance (W/Sr/m^2) | Efficiency (lm/W) | CIE 1931 x | CIE 1931 y | CIE u' | CIE v' | peak wavelength(nm) | FHWM | Radiance at 20mA/cm^2 (W/Sr/m^2) | Radiance at 10mA/cm^2 (W/Sr/m^2) | Radiance at 5mA/cm^2 (W/Sr/m^2) | EQE (%) | Abs(Current Density) | CIE 1976 v' | CIE 1931 v' | Blue Index (cd/A/CIEy) | Current/chip (uA) | Photometric / lm | Radiometric / W | WPE% | Signal Level / % | Equipment | Temperature | LED Number
|  | -1.95 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 3.0852e-07
|  | -1.9 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.6932e-07
|  | -1.85 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.67e-07
|  | -1.8 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.3008e-07
|  | -1.75 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 7.1642e-07
|  | -1.7 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 5.9889e-07
|  | -1.65 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 9.3529e-07
|  | -1.6 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 9.5367e-07
|  | -1.55 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 3.1624e-06
|  | -1.5 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.3729e-06
|  | -1.45 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 4.2759e-06
|  | -1.4 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 5.442e-07
|  | -1.35 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 4.3628e-07
|  | -1.3 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 4.3176e-06
|  | -1.25 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.7017e-06
|  | -1.2 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.1118e-08
|  | -1.15 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.2038e-06
|  | -1.1 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 8.4042e-06
|  | -1.05 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.236e-06
|  | -1 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 3.9635e-07
|  | -0.95 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.8689e-07
|  | -0.9 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.8694e-07
|  | -0.85 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.0025e-07
|  | -0.8 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.0708e-07
|  | -0.75 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.444e-08
|  | -0.7 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.7396e-07
|  | -0.65 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 8.8214e-08
|  | -0.6 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 3.6054e-08
|  | -0.55 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.0838e-07
|  | -0.5 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 8.5611e-08
|  | -0.45 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.3506e-07
|  | -0.4 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.483e-08
|  | -0.35 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 5.3348e-06
|  | -0.3 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.7076e-06
|  | -0.25 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.4068e-06
|  | -0.2 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.9307e-07
|  | -0.15 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.5797e-07
|  | -0.1 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 5.2387e-07
|  | -0.05 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 7.1032e-07
|  | -2.2204e-16 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.6507e-06
|  | 0.05 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.975e-07
|  | 0.1 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 3.591e-07
|  | 0.15 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.5094e-07
|  | 0.2 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.7767e-07
|  | 0.25 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.205e-07
|  | 0.3 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.4449e-07
|  | 0.35 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.7883e-08
|  | 0.4 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.1082e-07
|  | 0.45 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.3328e-08
|  | 0.5 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 9.573e-09
|  | 0.55 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 7.6503e-08
|  | 0.6 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.7737e-07
|  | 0.65 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 4.5326e-06
|  | 0.7 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.6945e-06
|  | 0.75 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.9948e-06
|  | 0.8 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.4411e-06
|  | 0.85 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 4.0394e-06
|  | 0.9 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.1597e-06
|  | 0.95 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.951e-07
|  | 1 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.1402e-07
|  | 1.05 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.2232e-07
|  | 1.1 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.6726e-07
|  | 1.15 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.3994e-07
|  | 1.2 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 7.6584e-08
|  | 1.25 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 9.4313e-08
|  | 1.3 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.5005e-07
|  | 1.35 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.118e-07
|  | 1.4 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 9.9192e-08
|  | 1.45 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.2457e-07
|  | 1.5 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 3.1478e-07
|  | 1.55 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.8811e-08
|  | 1.6 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.4774e-07
|  | 1.65 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.8759e-07
|  | 1.7 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 4.202e-07
|  | 1.75 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 8.4961e-08
|  | 1.8 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 6.2349e-07
|  | 1.85 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.7114e-06
|  | 1.9 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.5908e-06
|  | 1.95 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 4.2349e-06
|  | 2 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 1.1544e-05
|  | 2.05 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 2.515e-05
|  | 2.1 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 5.9873e-05
|  | 2.15 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 0.00014838
|  | 2.2 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 0.00038425
|  | 2.25 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 0.0010762
|  | 2.3 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 0.0033424
|  | 2.35 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 0.012061
|  | 2.4 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [8 empty] | 0.049342
|  | 2.45 |  | 10.6514 |  |  | 0.13703 | 0.046722 |  |  | 462 | 18 | [8 empty] | 0.21083
|  | 2.5 |  | 12.8388 |  |  | 0.13687 | 0.047308 |  |  | 462 | 18 | [8 empty] | 0.84579
|  | 2.55 |  | 13.758 |  |  | 0.13715 | 0.046744 |  |  | 462 | 18 | [8 empty] | 2.7443
|  | 2.6 |  | 13.9507 |  |  | 0.13757 | 0.046044 |  |  | 462 | 18 | [8 empty] | 6.7208
|  | 2.65 |  | 13.7408 |  |  | 0.1382 | 0.045039 |  |  | 460 | 19 | [8 empty] | 13.2161
|  | 2.7 |  | 13.3331 |  |  | 0.13877 | 0.044064 |  |  | 460 | 18 | [8 empty] | 22.4888
|  | 2.75 |  | 12.8967 |  |  | 0.13927 | 0.043435 |  |  | 460 | 19 | [8 empty] | 34.8642
|  | 2.8 |  | 12.3652 |  |  | 0.13968 | 0.042855 |  |  | 460 | 19 | [8 empty] | 50.796
|  | 2.85 |  | 11.7961 |  |  | 0.13993 | 0.042638 |  |  | 460 | 20 | [8 empty] | 71.1244

## Spectrum
λ | V | S(λ)
380 | 2.45 | 2.9087e-24
382 | 2.45 | 2.9087e-24
384 | 2.45 | 2.7718e-24
386 | 2.45 | 2.706e-24
388 | 2.45 | 2.6533e-24
390 | 2.45 | 2.5551e-24
392 | 2.45 | 2.4878e-24
394 | 2.45 | 2.3622e-24
396 | 2.45 | 2.3238e-24
398 | 2.45 | 2.2287e-24
400 | 2.45 | 2.11e-24
402 | 2.45 | 2.0403e-24
404 | 2.45 | 1.9605e-24
406 | 2.45 | 1.86e-24
408 | 2.45 | 1.7818e-24
410 | 2.45 | 1.6983e-24
412 | 2.45 | 1.6204e-24
414 | 2.45 | 1.5596e-24
416 | 2.45 | 1.5017e-24
418 | 2.45 | 3.2403e-05
420 | 2.45 | 5.2619e-05
422 | 2.45 | 0.00049592
424 | 2.45 | 0.0017591
426 | 2.45 | 0.003572
428 | 2.45 | 0.0050434
430 | 2.45 | 0.0073572
432 | 2.45 | 0.011656
434 | 2.45 | 0.017441
436 | 2.45 | 0.025657
438 | 2.45 | 0.036904
440 | 2.45 | 0.05483
442 | 2.45 | 0.077599
444 | 2.45 | 0.10813
446 | 2.45 | 0.15278
448 | 2.45 | 0.21311
450 | 2.45 | 0.29613
452 | 2.45 | 0.40879
454 | 2.45 | 0.56462
456 | 2.45 | 0.73151
458 | 2.45 | 0.87786
460 | 2.45 | 0.97341
462 | 2.45 | 1
464 | 2.45 | 0.94709
466 | 2.45 | 0.83206
468 | 2.45 | 0.67781
470 | 2.45 | 0.54936
472 | 2.45 | 0.4488
474 | 2.45 | 0.37431
476 | 2.45 | 0.31745
478 | 2.45 | 0.27033
480 | 2.45 | 0.22566
482 | 2.45 | 0.17897
484 | 2.45 | 0.14475
486 | 2.45 | 0.11569
488 | 2.45 | 0.092156
490 | 2.45 | 0.07423
492 | 2.45 | 0.060858
494 | 2.45 | 0.050777
496 | 2.45 | 0.041169
498 | 2.45 | 0.033482
500 | 2.45 | 0.027402
502 | 2.45 | 0.02194
504 | 2.45 | 0.01736
506 | 2.45 | 0.013556
508 | 2.45 | 0.010461
510 | 2.45 | 0.0083969
512 | 2.45 | 0.0067334
514 | 2.45 | 0.0053777
516 | 2.45 | 0.0042116
518 | 2.45 | 0.003264
520 | 2.45 | 0.0026954
522 | 2.45 | 0.0020845
524 | 2.45 | 0.0015296
526 | 2.45 | 0.00097999
528 | 2.45 | 0.00070676
530 | 2.45 | 0.00012014
532 | 2.45 | 2.0769e-05
534 | 2.45 | 0.00025549
536 | 2.45 | 0.00016115
538 | 2.45 | 1.0653e-24
540 | 2.45 | 1.0605e-24
542 | 2.45 | 1.0574e-24
544 | 2.45 | 1.0521e-24
546 | 2.45 | 1.049e-24
548 | 2.45 | 1.0405e-24
550 | 2.45 | 1.0395e-24
552 | 2.45 | 1.0413e-24
554 | 2.45 | 1.0434e-24
556 | 2.45 | 1.0461e-24
558 | 2.45 | 1.0508e-24
560 | 2.45 | 1.0553e-24
562 | 2.45 | 1.0621e-24
564 | 2.45 | 1.0695e-24
566 | 2.45 | 1.0755e-24
568 | 2.45 | 1.0824e-24
570 | 2.45 | 1.0913e-24
572 | 2.45 | 1.1003e-24
574 | 2.45 | 1.1124e-24
576 | 2.45 | 1.1261e-24
578 | 2.45 | 1.1427e-24
580 | 2.45 | 1.1616e-24
582 | 2.45 | 1.1822e-24
584 | 2.45 | 1.2051e-24
586 | 2.45 | 1.2309e-24
588 | 2.45 | 1.2593e-24
590 | 2.45 | 1.2974e-24
592 | 2.45 | 1.3269e-24
594 | 2.45 | 1.3564e-24
596 | 2.45 | 1.3798e-24
598 | 2.45 | 1.4193e-24
600 | 2.45 | 1.4528e-24
602 | 2.45 | 1.483e-24
604 | 2.45 | 1.5151e-24
606 | 2.45 | 1.547e-24
608 | 2.45 | 1.578e-24
610 | 2.45 | 1.6096e-24
612 | 2.45 | 1.6404e-24
614 | 2.45 | 1.6731e-24
616 | 2.45 | 1.7141e-24
618 | 2.45 | 1.7462e-24
620 | 2.45 | 1.7802e-24
622 | 2.45 | 1.8136e-24
624 | 2.45 | 1.8558e-24
626 | 2.45 | 1.8908e-24
628 | 2.45 | 1.926e-24
630 | 2.45 | 1.96e-24
632 | 2.45 | 1.9955e-24
634 | 2.45 | 2.0397e-24
636 | 2.45 | 2.0763e-24
638 | 2.45 | 2.1108e-24
640 | 2.45 | 2.1603e-24
642 | 2.45 | 2.1898e-24
644 | 2.45 | 2.2272e-24
646 | 2.45 | 2.2656e-24
648 | 2.45 | 2.3069e-24
650 | 2.45 | 2.3611e-24
652 | 2.45 | 2.3998e-24
654 | 2.45 | 2.4296e-24
656 | 2.45 | 2.4809e-24
658 | 2.45 | 2.5215e-24
660 | 2.45 | 2.5641e-24
662 | 2.45 | 2.6052e-24
664 | 2.45 | 2.6454e-24
666 | 2.45 | 2.6875e-24
668 | 2.45 | 2.7428e-24
670 | 2.45 | 2.777e-24
672 | 2.45 | 2.8297e-24
674 | 2.45 | 2.8744e-24
676 | 2.45 | 2.9192e-24
678 | 2.45 | 2.9666e-24
680 | 2.45 | 3.0166e-24
682 | 2.45 | 3.0745e-24
684 | 2.45 | 3.1245e-24
686 | 2.45 | 3.1824e-24
688 | 2.45 | 3.2377e-24
690 | 2.45 | 3.293e-24
692 | 2.45 | 3.3614e-24
694 | 2.45 | 3.422e-24
696 | 2.45 | 3.4825e-24
698 | 2.45 | 3.5404e-24
700 | 2.45 | 3.6009e-24
702 | 2.45 | 3.6799e-24
704 | 2.45 | 3.751e-24
706 | 2.45 | 3.8247e-24
708 | 2.45 | 3.8958e-24
710 | 2.45 | 3.98e-24
712 | 2.45 | 4.0879e-24
714 | 2.45 | 4.1827e-24
716 | 2.45 | 4.3011e-24
718 | 2.45 | 4.4143e-24
720 | 2.45 | 4.5459e-24
722 | 2.45 | 4.6933e-24
724 | 2.45 | 4.8486e-24
726 | 2.45 | 5.0066e-24
728 | 2.45 | 5.2066e-24
730 | 2.45 | 5.4198e-24
732 | 2.45 | 5.6199e-24
734 | 2.45 | 5.8752e-24
736 | 2.45 | 6.1148e-24
738 | 2.45 | 6.4017e-24
740 | 2.45 | 6.7202e-24
742 | 2.45 | 6.9966e-24
744 | 2.45 | 7.3572e-24
746 | 2.45 | 7.7152e-24
748 | 2.45 | 8.0942e-24
750 | 2.45 | 8.4707e-24
752 | 2.45 | 8.9471e-24
754 | 2.45 | 9.4525e-24
756 | 2.45 | 9.9368e-24
758 | 2.45 | 1.0419e-23
760 | 2.45 | 1.104e-23
762 | 2.45 | 1.1661e-23
764 | 2.45 | 1.2251e-23
766 | 2.45 | 1.2901e-23
768 | 2.45 | 1.3654e-23
770 | 2.45 | 1.4412e-23
772 | 2.45 | 1.5275e-23
774 | 2.45 | 1.616e-23
776 | 2.45 | 1.7294e-23
778 | 2.45 | 1.8226e-23
780 | 2.45 | 1.9345e-23
380 | 2.5 | 2.8755e-24
382 | 2.5 | 2.8755e-24
384 | 2.5 | 2.7393e-24
386 | 2.5 | 2.6752e-24
388 | 2.5 | 2.6237e-24
390 | 2.5 | 2.5257e-24
392 | 2.5 | 2.4588e-24
394 | 2.5 | 2.3348e-24
396 | 2.5 | 2.2972e-24
398 | 2.5 | 2.2031e-24
400 | 2.5 | 2.0858e-24
402 | 2.5 | 2.0166e-24
404 | 2.5 | 1.938e-24
406 | 2.5 | 1.8384e-24
408 | 2.5 | 1.7609e-24
410 | 2.5 | 1.6785e-24
412 | 2.5 | 1.6015e-24
414 | 2.5 | 1.5418e-24
416 | 2.5 | 1.4842e-24
418 | 2.5 | 1.4234e-24
420 | 2.5 | 1.3686e-24
422 | 2.5 | 0.00013359
424 | 2.5 | 0.0012833
426 | 2.5 | 0.0022822
428 | 2.5 | 0.0040426
430 | 2.5 | 0.0068733
432 | 2.5 | 0.011572
434 | 2.5 | 0.017272
436 | 2.5 | 0.025578
438 | 2.5 | 0.036995
440 | 2.5 | 0.055672
442 | 2.5 | 0.078251
444 | 2.5 | 0.10902
446 | 2.5 | 0.15385
448 | 2.5 | 0.21472
450 | 2.5 | 0.29762
452 | 2.5 | 0.40852
454 | 2.5 | 0.56336
456 | 2.5 | 0.72939
458 | 2.5 | 0.87438
460 | 2.5 | 0.97122
462 | 2.5 | 1
464 | 2.5 | 0.95019
466 | 2.5 | 0.83785
468 | 2.5 | 0.68456
470 | 2.5 | 0.55562
472 | 2.5 | 0.4544
474 | 2.5 | 0.37908
476 | 2.5 | 0.32147
478 | 2.5 | 0.27432
480 | 2.5 | 0.22889
482 | 2.5 | 0.18229
484 | 2.5 | 0.14759
486 | 2.5 | 0.1176
488 | 2.5 | 0.094023
490 | 2.5 | 0.075872
492 | 2.5 | 0.062479
494 | 2.5 | 0.051544
496 | 2.5 | 0.042125
498 | 2.5 | 0.034898
500 | 2.5 | 0.028605
502 | 2.5 | 0.023066
504 | 2.5 | 0.018827
506 | 2.5 | 0.015545
508 | 2.5 | 0.011655
510 | 2.5 | 0.0091478
512 | 2.5 | 0.0077532
514 | 2.5 | 0.0063586
516 | 2.5 | 0.0052728
518 | 2.5 | 0.0042607
520 | 2.5 | 0.0034101
522 | 2.5 | 0.0025678
524 | 2.5 | 0.0020149
526 | 2.5 | 0.0016065
528 | 2.5 | 0.00097786
530 | 2.5 | 0.00067405
532 | 2.5 | 0.00025401
534 | 2.5 | 0.00010011
536 | 2.5 | 1.0576e-24
538 | 2.5 | 1.0531e-24
540 | 2.5 | 1.0481e-24
542 | 2.5 | 1.0448e-24
544 | 2.5 | 1.0398e-24
546 | 2.5 | 1.0371e-24
548 | 2.5 | 1.0288e-24
550 | 2.5 | 1.0277e-24
552 | 2.5 | 1.0293e-24
554 | 2.5 | 1.0315e-24
556 | 2.5 | 1.0338e-24
558 | 2.5 | 1.0387e-24
560 | 2.5 | 1.0432e-24
562 | 2.5 | 1.0498e-24
564 | 2.5 | 1.057e-24
566 | 2.5 | 1.0631e-24
568 | 2.5 | 1.0697e-24
570 | 2.5 | 1.0786e-24
572 | 2.5 | 1.0874e-24
574 | 2.5 | 1.0996e-24
576 | 2.5 | 1.1129e-24
578 | 2.5 | 1.1295e-24
580 | 2.5 | 1.1483e-24
582 | 2.5 | 1.1682e-24
584 | 2.5 | 1.1909e-24
586 | 2.5 | 1.2164e-24
588 | 2.5 | 1.2446e-24
590 | 2.5 | 1.2822e-24
592 | 2.5 | 1.3116e-24
594 | 2.5 | 1.3403e-24
596 | 2.5 | 1.3641e-24
598 | 2.5 | 1.4029e-24
600 | 2.5 | 1.4361e-24
602 | 2.5 | 1.466e-24
604 | 2.5 | 1.4975e-24
606 | 2.5 | 1.5291e-24
608 | 2.5 | 1.56e-24
610 | 2.5 | 1.591e-24
612 | 2.5 | 1.6215e-24
614 | 2.5 | 1.6536e-24
616 | 2.5 | 1.6945e-24
618 | 2.5 | 1.7261e-24
620 | 2.5 | 1.7598e-24
622 | 2.5 | 1.7925e-24
624 | 2.5 | 1.8345e-24
626 | 2.5 | 1.8688e-24
628 | 2.5 | 1.9037e-24
630 | 2.5 | 1.9375e-24
632 | 2.5 | 1.9723e-24
634 | 2.5 | 2.016e-24
636 | 2.5 | 2.0526e-24
638 | 2.5 | 2.0863e-24
640 | 2.5 | 2.1356e-24
642 | 2.5 | 2.1644e-24
644 | 2.5 | 2.2014e-24
646 | 2.5 | 2.2391e-24
648 | 2.5 | 2.28e-24
650 | 2.5 | 2.3337e-24
652 | 2.5 | 2.3724e-24
654 | 2.5 | 2.4012e-24
656 | 2.5 | 2.4521e-24
658 | 2.5 | 2.492e-24
660 | 2.5 | 2.5346e-24
662 | 2.5 | 2.575e-24
664 | 2.5 | 2.6154e-24
666 | 2.5 | 2.6569e-24
668 | 2.5 | 2.7111e-24
670 | 2.5 | 2.7443e-24
672 | 2.5 | 2.7963e-24
674 | 2.5 | 2.8412e-24
676 | 2.5 | 2.886e-24
678 | 2.5 | 2.933e-24
680 | 2.5 | 2.9806e-24
682 | 2.5 | 3.0398e-24
684 | 2.5 | 3.0891e-24
686 | 2.5 | 3.1455e-24
688 | 2.5 | 3.1998e-24
690 | 2.5 | 3.2562e-24
692 | 2.5 | 3.3226e-24
694 | 2.5 | 3.3818e-24
696 | 2.5 | 3.4422e-24
698 | 2.5 | 3.4992e-24
700 | 2.5 | 3.5595e-24
702 | 2.5 | 3.6381e-24
704 | 2.5 | 3.7089e-24
706 | 2.5 | 3.7803e-24
708 | 2.5 | 3.8517e-24
710 | 2.5 | 3.9347e-24
712 | 2.5 | 4.041e-24
714 | 2.5 | 4.1334e-24
716 | 2.5 | 4.2501e-24
718 | 2.5 | 4.3619e-24
720 | 2.5 | 4.4942e-24
722 | 2.5 | 4.6403e-24
724 | 2.5 | 4.7925e-24
726 | 2.5 | 4.9491e-24
728 | 2.5 | 5.1472e-24
730 | 2.5 | 5.3564e-24
732 | 2.5 | 5.5562e-24
734 | 2.5 | 5.8052e-24
736 | 2.5 | 6.0432e-24
738 | 2.5 | 6.3254e-24
740 | 2.5 | 6.6408e-24
742 | 2.5 | 6.9175e-24
744 | 2.5 | 7.2717e-24
746 | 2.5 | 7.6259e-24
748 | 2.5 | 8.0022e-24
750 | 2.5 | 8.373e-24
752 | 2.5 | 8.8434e-24
754 | 2.5 | 9.3414e-24
756 | 2.5 | 9.8229e-24
758 | 2.5 | 1.0299e-23
760 | 2.5 | 1.0913e-23
762 | 2.5 | 1.1527e-23
764 | 2.5 | 1.2108e-23
766 | 2.5 | 1.275e-23
768 | 2.5 | 1.3498e-23
770 | 2.5 | 1.4245e-23
772 | 2.5 | 1.5097e-23
774 | 2.5 | 1.5971e-23
776 | 2.5 | 1.7095e-23
778 | 2.5 | 1.8013e-23
780 | 2.5 | 1.912e-23
380 | 2.55 | 2.8649e-24
382 | 2.55 | 2.8649e-24
384 | 2.55 | 2.7283e-24
386 | 2.55 | 2.6648e-24
388 | 2.55 | 2.6139e-24
390 | 2.55 | 2.5155e-24
392 | 2.55 | 2.4504e-24
394 | 2.55 | 2.3265e-24
396 | 2.55 | 2.2884e-24
398 | 2.55 | 2.1947e-24
400 | 2.55 | 2.0772e-24
402 | 2.55 | 2.0089e-24
404 | 2.55 | 1.9311e-24
406 | 2.55 | 1.831e-24
408 | 2.55 | 1.7548e-24
410 | 2.55 | 1.6722e-24
412 | 2.55 | 1.596e-24
414 | 2.55 | 1.5358e-24
416 | 2.55 | 1.4786e-24
418 | 2.55 | 9.3521e-05
420 | 2.55 | 0.00034477
422 | 2.55 | 0.0013994
424 | 2.55 | 0.0020661
426 | 2.55 | 0.0030538
428 | 2.55 | 0.0056313
430 | 2.55 | 0.0082531
432 | 2.55 | 0.012323
434 | 2.55 | 0.018882
436 | 2.55 | 0.026902
438 | 2.55 | 0.038892
440 | 2.55 | 0.057869
442 | 2.55 | 0.081642
444 | 2.55 | 0.11383
446 | 2.55 | 0.16103
448 | 2.55 | 0.22407
450 | 2.55 | 0.30999
452 | 2.55 | 0.42433
454 | 2.55 | 0.58075
456 | 2.55 | 0.74496
458 | 2.55 | 0.88614
460 | 2.55 | 0.97697
462 | 2.55 | 1
464 | 2.55 | 0.9468
466 | 2.55 | 0.83119
468 | 2.55 | 0.67905
470 | 2.55 | 0.55106
472 | 2.55 | 0.45133
474 | 2.55 | 0.37732
476 | 2.55 | 0.32063
478 | 2.55 | 0.27378
480 | 2.55 | 0.22852
482 | 2.55 | 0.18199
484 | 2.55 | 0.14793
486 | 2.55 | 0.11831
488 | 2.55 | 0.094315
490 | 2.55 | 0.076274
492 | 2.55 | 0.06249
494 | 2.55 | 0.052358
496 | 2.55 | 0.042052
498 | 2.55 | 0.034016
500 | 2.55 | 0.028156
502 | 2.55 | 0.022677
504 | 2.55 | 0.017469
506 | 2.55 | 0.013854
508 | 2.55 | 0.010432
510 | 2.55 | 0.0080753
512 | 2.55 | 0.0068048
514 | 2.55 | 0.0053248
516 | 2.55 | 0.0041528
518 | 2.55 | 0.003913
520 | 2.55 | 0.0029506
522 | 2.55 | 0.0021248
524 | 2.55 | 0.0018326
526 | 2.55 | 0.0012098
528 | 2.55 | 0.00099269
530 | 2.55 | 0.00087645
532 | 2.55 | 0.00067143
534 | 2.55 | 0.00063364
536 | 2.55 | 0.00014094
538 | 2.55 | 5.9743e-05
540 | 2.55 | 4.0083e-05
542 | 2.55 | 1.0411e-24
544 | 2.55 | 1.036e-24
546 | 2.55 | 1.033e-24
548 | 2.55 | 1.0246e-24
550 | 2.55 | 1.0237e-24
552 | 2.55 | 1.0254e-24
554 | 2.55 | 1.0275e-24
556 | 2.55 | 1.03e-24
558 | 2.55 | 1.0346e-24
560 | 2.55 | 1.0391e-24
562 | 2.55 | 1.0459e-24
564 | 2.55 | 1.053e-24
566 | 2.55 | 1.0591e-24
568 | 2.55 | 1.0659e-24
570 | 2.55 | 1.0746e-24
572 | 2.55 | 1.0835e-24
574 | 2.55 | 1.0953e-24
576 | 2.55 | 1.1088e-24
578 | 2.55 | 1.1253e-24
580 | 2.55 | 1.1439e-24
582 | 2.55 | 1.164e-24
584 | 2.55 | 1.1866e-24
586 | 2.55 | 1.2118e-24
588 | 2.55 | 1.2401e-24
590 | 2.55 | 1.2776e-24
592 | 2.55 | 1.3065e-24
594 | 2.55 | 1.3356e-24
596 | 2.55 | 1.3587e-24
598 | 2.55 | 1.3978e-24
600 | 2.55 | 1.4304e-24
602 | 2.55 | 1.4604e-24
604 | 2.55 | 1.492e-24
606 | 2.55 | 1.5233e-24
608 | 2.55 | 1.5541e-24
610 | 2.55 | 1.5852e-24
612 | 2.55 | 1.6151e-24
614 | 2.55 | 1.6468e-24
616 | 2.55 | 1.6881e-24
618 | 2.55 | 1.7199e-24
620 | 2.55 | 1.7532e-24
622 | 2.55 | 1.7866e-24
624 | 2.55 | 1.8279e-24
626 | 2.55 | 1.8612e-24
628 | 2.55 | 1.8961e-24
630 | 2.55 | 1.9295e-24
632 | 2.55 | 1.9644e-24
634 | 2.55 | 2.0089e-24
636 | 2.55 | 2.0454e-24
638 | 2.55 | 2.0788e-24
640 | 2.55 | 2.128e-24
642 | 2.55 | 2.1566e-24
644 | 2.55 | 2.1931e-24
646 | 2.55 | 2.2312e-24
648 | 2.55 | 2.2709e-24
650 | 2.55 | 2.3249e-24
652 | 2.55 | 2.363e-24
654 | 2.55 | 2.3916e-24
656 | 2.55 | 2.4424e-24
658 | 2.55 | 2.4821e-24
660 | 2.55 | 2.525e-24
662 | 2.55 | 2.5647e-24
664 | 2.55 | 2.606e-24
666 | 2.55 | 2.6473e-24
668 | 2.55 | 2.7013e-24
670 | 2.55 | 2.7346e-24
672 | 2.55 | 2.7855e-24
674 | 2.55 | 2.8299e-24
676 | 2.55 | 2.876e-24
678 | 2.55 | 2.922e-24
680 | 2.55 | 2.9697e-24
682 | 2.55 | 3.0284e-24
684 | 2.55 | 3.0777e-24
686 | 2.55 | 3.1332e-24
688 | 2.55 | 3.1872e-24
690 | 2.55 | 3.2444e-24
692 | 2.55 | 3.3095e-24
694 | 2.55 | 3.3699e-24
696 | 2.55 | 3.4286e-24
698 | 2.55 | 3.4858e-24
700 | 2.55 | 3.5461e-24
702 | 2.55 | 3.6239e-24
704 | 2.55 | 3.6954e-24
706 | 2.55 | 3.7653e-24
708 | 2.55 | 3.8367e-24
710 | 2.55 | 3.9193e-24
712 | 2.55 | 4.0257e-24
714 | 2.55 | 4.1178e-24
716 | 2.55 | 4.2338e-24
718 | 2.55 | 4.3449e-24
720 | 2.55 | 4.4767e-24
722 | 2.55 | 4.6228e-24
724 | 2.55 | 4.7737e-24
726 | 2.55 | 4.9309e-24
728 | 2.55 | 5.1278e-24
730 | 2.55 | 5.3359e-24
732 | 2.55 | 5.5328e-24
734 | 2.55 | 5.7853e-24
736 | 2.55 | 6.0203e-24
738 | 2.55 | 6.303e-24
740 | 2.55 | 6.6174e-24
742 | 2.55 | 6.889e-24
744 | 2.55 | 7.2447e-24
746 | 2.55 | 7.5989e-24
748 | 2.55 | 7.9705e-24
750 | 2.55 | 8.3405e-24
752 | 2.55 | 8.8105e-24
754 | 2.55 | 9.3076e-24
756 | 2.55 | 9.7856e-24
758 | 2.55 | 1.026e-23
760 | 2.55 | 1.087e-23
762 | 2.55 | 1.1482e-23
764 | 2.55 | 1.2064e-23
766 | 2.55 | 1.2704e-23
768 | 2.55 | 1.3444e-23
770 | 2.55 | 1.4192e-23
772 | 2.55 | 1.504e-23
774 | 2.55 | 1.5912e-23
776 | 2.55 | 1.7024e-23
778 | 2.55 | 1.7945e-23
780 | 2.55 | 1.9041e-23
380 | 2.6 | 2.8797e-24
382 | 2.6 | 2.8804e-24
384 | 2.6 | 2.7434e-24
386 | 2.6 | 2.6795e-24
388 | 2.6 | 2.6283e-24
390 | 2.6 | 2.5298e-24
392 | 2.6 | 2.4632e-24
394 | 2.6 | 2.3391e-24
396 | 2.6 | 2.3007e-24
398 | 2.6 | 2.2067e-24
400 | 2.6 | 2.0889e-24
402 | 2.6 | 2.0198e-24
404 | 2.6 | 1.9411e-24
406 | 2.6 | 1.8413e-24
408 | 2.6 | 1.7639e-24
410 | 2.6 | 1.6814e-24
412 | 2.6 | 1.6046e-24
414 | 2.6 | 1.5438e-24
416 | 2.6 | 1.4869e-24
418 | 2.6 | 1.4255e-24
420 | 2.6 | 0.00049507
422 | 2.6 | 0.00090339
424 | 2.6 | 0.0015816
426 | 2.6 | 0.0030269
428 | 2.6 | 0.0054862
430 | 2.6 | 0.0084901
432 | 2.6 | 0.013231
434 | 2.6 | 0.019853
436 | 2.6 | 0.028791
438 | 2.6 | 0.041683
440 | 2.6 | 0.061958
442 | 2.6 | 0.08778
444 | 2.6 | 0.1222
446 | 2.6 | 0.17345
448 | 2.6 | 0.24133
450 | 2.6 | 0.33289
452 | 2.6 | 0.45329
454 | 2.6 | 0.61305
456 | 2.6 | 0.77607
458 | 2.6 | 0.90979
460 | 2.6 | 0.98848
462 | 2.6 | 1
464 | 2.6 | 0.93666
466 | 2.6 | 0.81638
468 | 2.6 | 0.66475
470 | 2.6 | 0.54075
472 | 2.6 | 0.44421
474 | 2.6 | 0.37319
476 | 2.6 | 0.31734
478 | 2.6 | 0.27051
480 | 2.6 | 0.2254
482 | 2.6 | 0.17889
484 | 2.6 | 0.14562
486 | 2.6 | 0.11625
488 | 2.6 | 0.09341
490 | 2.6 | 0.075944
492 | 2.6 | 0.062815
494 | 2.6 | 0.05229
496 | 2.6 | 0.042041
498 | 2.6 | 0.035118
500 | 2.6 | 0.02872
502 | 2.6 | 0.023436
504 | 2.6 | 0.018912
506 | 2.6 | 0.014645
508 | 2.6 | 0.011088
510 | 2.6 | 0.0093474
512 | 2.6 | 0.0072553
514 | 2.6 | 0.0056923
516 | 2.6 | 0.0048938
518 | 2.6 | 0.0037338
520 | 2.6 | 0.002723
522 | 2.6 | 0.0016763
524 | 2.6 | 0.0011676
526 | 2.6 | 0.00077479
528 | 2.6 | 0.00045176
530 | 2.6 | 6.865e-05
532 | 2.6 | 1.0685e-24
534 | 2.6 | 1.0627e-24
536 | 2.6 | 1.0595e-24
538 | 2.6 | 1.0544e-24
540 | 2.6 | 1.0499e-24
542 | 2.6 | 1.0467e-24
544 | 2.6 | 1.0416e-24
546 | 2.6 | 1.0384e-24
548 | 2.6 | 1.0301e-24
550 | 2.6 | 1.0294e-24
552 | 2.6 | 1.0307e-24
554 | 2.6 | 1.0333e-24
556 | 2.6 | 1.0358e-24
558 | 2.6 | 1.0403e-24
560 | 2.6 | 1.0448e-24
562 | 2.6 | 1.0512e-24
564 | 2.6 | 1.0589e-24
566 | 2.6 | 1.0646e-24
568 | 2.6 | 1.0717e-24
570 | 2.6 | 1.0806e-24
572 | 2.6 | 1.0896e-24
574 | 2.6 | 1.1011e-24
576 | 2.6 | 1.1145e-24
578 | 2.6 | 1.1312e-24
580 | 2.6 | 1.1504e-24
582 | 2.6 | 1.1702e-24
584 | 2.6 | 1.1932e-24
586 | 2.6 | 1.2182e-24
588 | 2.6 | 1.247e-24
590 | 2.6 | 1.2847e-24
592 | 2.6 | 1.3135e-24
594 | 2.6 | 1.3429e-24
596 | 2.6 | 1.366e-24
598 | 2.6 | 1.4056e-24
600 | 2.6 | 1.4383e-24
602 | 2.6 | 1.4683e-24
604 | 2.6 | 1.5003e-24
606 | 2.6 | 1.5317e-24
608 | 2.6 | 1.5624e-24
610 | 2.6 | 1.5937e-24
612 | 2.6 | 1.6238e-24
614 | 2.6 | 1.6564e-24
616 | 2.6 | 1.6967e-24
618 | 2.6 | 1.7287e-24
620 | 2.6 | 1.7626e-24
622 | 2.6 | 1.7953e-24
624 | 2.6 | 1.8375e-24
626 | 2.6 | 1.872e-24
628 | 2.6 | 1.9066e-24
630 | 2.6 | 1.9405e-24
632 | 2.6 | 1.9757e-24
634 | 2.6 | 2.0192e-24
636 | 2.6 | 2.0557e-24
638 | 2.6 | 2.0896e-24
640 | 2.6 | 2.1388e-24
642 | 2.6 | 2.1676e-24
644 | 2.6 | 2.2047e-24
646 | 2.6 | 2.2431e-24
648 | 2.6 | 2.2841e-24
650 | 2.6 | 2.3378e-24
652 | 2.6 | 2.3762e-24
654 | 2.6 | 2.4056e-24
656 | 2.6 | 2.4562e-24
658 | 2.6 | 2.4965e-24
660 | 2.6 | 2.5387e-24
662 | 2.6 | 2.579e-24
664 | 2.6 | 2.62e-24
666 | 2.6 | 2.6609e-24
668 | 2.6 | 2.7159e-24
670 | 2.6 | 2.7486e-24
672 | 2.6 | 2.8004e-24
674 | 2.6 | 2.8458e-24
676 | 2.6 | 2.8906e-24
678 | 2.6 | 2.9379e-24
680 | 2.6 | 2.9853e-24
682 | 2.6 | 3.0448e-24
684 | 2.6 | 3.094e-24
686 | 2.6 | 3.151e-24
688 | 2.6 | 3.2047e-24
690 | 2.6 | 3.2617e-24
692 | 2.6 | 3.3282e-24
694 | 2.6 | 3.3877e-24
696 | 2.6 | 3.4472e-24
698 | 2.6 | 3.5048e-24
700 | 2.6 | 3.5649e-24
702 | 2.6 | 3.6443e-24
704 | 2.6 | 3.7147e-24
706 | 2.6 | 3.7863e-24
708 | 2.6 | 3.858e-24
710 | 2.6 | 3.9411e-24
712 | 2.6 | 4.0473e-24
714 | 2.6 | 4.1401e-24
716 | 2.6 | 4.2572e-24
718 | 2.6 | 4.3692e-24
720 | 2.6 | 4.5016e-24
722 | 2.6 | 4.6475e-24
724 | 2.6 | 4.8004e-24
726 | 2.6 | 4.9571e-24
728 | 2.6 | 5.1561e-24
730 | 2.6 | 5.3653e-24
732 | 2.6 | 5.563e-24
734 | 2.6 | 5.8164e-24
736 | 2.6 | 6.0525e-24
738 | 2.6 | 6.3378e-24
740 | 2.6 | 6.6539e-24
742 | 2.6 | 6.929e-24
744 | 2.6 | 7.2809e-24
746 | 2.6 | 7.6392e-24
748 | 2.6 | 8.0166e-24
750 | 2.6 | 8.3877e-24
752 | 2.6 | 8.8548e-24
754 | 2.6 | 9.3602e-24
756 | 2.6 | 9.8401e-24
758 | 2.6 | 1.0313e-23
760 | 2.6 | 1.0928e-23
762 | 2.6 | 1.1542e-23
764 | 2.6 | 1.2131e-23
766 | 2.6 | 1.277e-23
768 | 2.6 | 1.3519e-23
770 | 2.6 | 1.4267e-23
772 | 2.6 | 1.5125e-23
774 | 2.6 | 1.5995e-23
776 | 2.6 | 1.7121e-23
778 | 2.6 | 1.8042e-23
780 | 2.6 | 1.9149e-23
380 | 2.65 | 1.7134e-24
382 | 2.65 | 1.7134e-24
384 | 2.65 | 1.6321e-24
386 | 2.65 | 1.5939e-24
388 | 2.65 | 1.5633e-24
390 | 2.65 | 1.5051e-24
392 | 2.65 | 1.4653e-24
394 | 2.65 | 1.3912e-24
396 | 2.65 | 1.3685e-24
398 | 2.65 | 1.3126e-24
400 | 2.65 | 1.2428e-24
402 | 2.65 | 1.2017e-24
404 | 2.65 | 1.1547e-24
406 | 2.65 | 1.0954e-24
408 | 2.65 | 1.0494e-24
410 | 2.65 | 1.0003e-24
412 | 2.65 | 9.5426e-25
414 | 2.65 | 9.1872e-25
416 | 2.65 | 8.845e-25
418 | 2.65 | 8.4798e-25
420 | 2.65 | 8.1573e-25
422 | 2.65 | 0.00040573
424 | 2.65 | 0.0014962
426 | 2.65 | 0.0033761
428 | 2.65 | 0.0060513
430 | 2.65 | 0.0098289
432 | 2.65 | 0.015025
434 | 2.65 | 0.022448
436 | 2.65 | 0.032646
438 | 2.65 | 0.046561
440 | 2.65 | 0.068674
442 | 2.65 | 0.097006
444 | 2.65 | 0.13504
446 | 2.65 | 0.19072
448 | 2.65 | 0.2644
450 | 2.65 | 0.36229
452 | 2.65 | 0.48898
454 | 2.65 | 0.65186
456 | 2.65 | 0.81178
458 | 2.65 | 0.93583
460 | 2.65 | 1
462 | 2.65 | 0.99539
464 | 2.65 | 0.92136
466 | 2.65 | 0.79697
468 | 2.65 | 0.64758
470 | 2.65 | 0.52748
472 | 2.65 | 0.436
474 | 2.65 | 0.36723
476 | 2.65 | 0.31227
478 | 2.65 | 0.26548
480 | 2.65 | 0.22043
482 | 2.65 | 0.17447
484 | 2.65 | 0.14116
486 | 2.65 | 0.11326
488 | 2.65 | 0.090984
490 | 2.65 | 0.073939
492 | 2.65 | 0.0615
494 | 2.65 | 0.050839
496 | 2.65 | 0.041
498 | 2.65 | 0.033893
500 | 2.65 | 0.027496
502 | 2.65 | 0.022238
504 | 2.65 | 0.017706
506 | 2.65 | 0.014169
508 | 2.65 | 0.010882
510 | 2.65 | 0.0089997
512 | 2.65 | 0.0073774
514 | 2.65 | 0.0058605
516 | 2.65 | 0.0046561
518 | 2.65 | 0.0034946
520 | 2.65 | 0.0028068
522 | 2.65 | 0.0020898
524 | 2.65 | 0.0014867
526 | 2.65 | 0.00082231
528 | 2.65 | 0.00036426
530 | 2.65 | 0.00015515
532 | 2.65 | 8.5916e-06
534 | 2.65 | 6.3212e-25
536 | 2.65 | 6.3014e-25
538 | 2.65 | 6.2751e-25
540 | 2.65 | 6.2455e-25
542 | 2.65 | 6.2257e-25
544 | 2.65 | 6.1961e-25
546 | 2.65 | 6.1797e-25
548 | 2.65 | 6.1303e-25
550 | 2.65 | 6.1237e-25
552 | 2.65 | 6.1336e-25
554 | 2.65 | 6.1468e-25
556 | 2.65 | 6.1599e-25
558 | 2.65 | 6.1895e-25
560 | 2.65 | 6.2159e-25
562 | 2.65 | 6.2553e-25
564 | 2.65 | 6.2981e-25
566 | 2.65 | 6.3343e-25
568 | 2.65 | 6.3738e-25
570 | 2.65 | 6.4265e-25
572 | 2.65 | 6.4791e-25
574 | 2.65 | 6.5515e-25
576 | 2.65 | 6.6305e-25
578 | 2.65 | 6.7292e-25
580 | 2.65 | 6.8411e-25
582 | 2.65 | 6.9628e-25
584 | 2.65 | 7.0977e-25
586 | 2.65 | 7.2491e-25
588 | 2.65 | 7.4169e-25
590 | 2.65 | 7.6407e-25
592 | 2.65 | 7.8151e-25
594 | 2.65 | 7.9895e-25
596 | 2.65 | 8.1277e-25
598 | 2.65 | 8.3613e-25
600 | 2.65 | 8.5554e-25
602 | 2.65 | 8.7331e-25
604 | 2.65 | 8.924e-25
606 | 2.65 | 9.1115e-25
608 | 2.65 | 9.2958e-25
610 | 2.65 | 9.4801e-25
612 | 2.65 | 9.6611e-25
614 | 2.65 | 9.8552e-25
616 | 2.65 | 1.0095e-24
618 | 2.65 | 1.0283e-24
620 | 2.65 | 1.0484e-24
622 | 2.65 | 1.0681e-24
624 | 2.65 | 1.0931e-24
626 | 2.65 | 1.1135e-24
628 | 2.65 | 1.1343e-24
630 | 2.65 | 1.1543e-24
632 | 2.65 | 1.1754e-24
634 | 2.65 | 1.2014e-24
636 | 2.65 | 1.2231e-24
638 | 2.65 | 1.2432e-24
640 | 2.65 | 1.2725e-24
642 | 2.65 | 1.2896e-24
644 | 2.65 | 1.3116e-24
646 | 2.65 | 1.3343e-24
648 | 2.65 | 1.3587e-24
650 | 2.65 | 1.3906e-24
652 | 2.65 | 1.4136e-24
654 | 2.65 | 1.4311e-24
656 | 2.65 | 1.461e-24
658 | 2.65 | 1.485e-24
660 | 2.65 | 1.51e-24
662 | 2.65 | 1.5344e-24
664 | 2.65 | 1.5584e-24
666 | 2.65 | 1.5831e-24
668 | 2.65 | 1.6157e-24
670 | 2.65 | 1.6351e-24
672 | 2.65 | 1.666e-24
674 | 2.65 | 1.693e-24
676 | 2.65 | 1.7196e-24
678 | 2.65 | 1.7476e-24
680 | 2.65 | 1.7759e-24
682 | 2.65 | 1.8111e-24
684 | 2.65 | 1.8404e-24
686 | 2.65 | 1.8743e-24
688 | 2.65 | 1.9065e-24
690 | 2.65 | 1.9401e-24
692 | 2.65 | 1.9799e-24
694 | 2.65 | 2.0151e-24
696 | 2.65 | 2.051e-24
698 | 2.65 | 2.0849e-24
700 | 2.65 | 2.1208e-24
702 | 2.65 | 2.1678e-24
704 | 2.65 | 2.2099e-24
706 | 2.65 | 2.2524e-24
708 | 2.65 | 2.2948e-24
710 | 2.65 | 2.3445e-24
712 | 2.65 | 2.4077e-24
714 | 2.65 | 2.463e-24
716 | 2.65 | 2.5324e-24
718 | 2.65 | 2.5992e-24
720 | 2.65 | 2.6779e-24
722 | 2.65 | 2.7647e-24
724 | 2.65 | 2.8555e-24
726 | 2.65 | 2.949e-24
728 | 2.65 | 3.0671e-24
730 | 2.65 | 3.1915e-24
732 | 2.65 | 3.3103e-24
734 | 2.65 | 3.4617e-24
736 | 2.65 | 3.5999e-24
738 | 2.65 | 3.771e-24
740 | 2.65 | 3.9585e-24
742 | 2.65 | 4.1198e-24
744 | 2.65 | 4.3337e-24
746 | 2.65 | 4.5443e-24
748 | 2.65 | 4.768e-24
750 | 2.65 | 4.9885e-24
752 | 2.65 | 5.2682e-24
754 | 2.65 | 5.5676e-24
756 | 2.65 | 5.8539e-24
758 | 2.65 | 6.1369e-24
760 | 2.65 | 6.5021e-24
762 | 2.65 | 6.8674e-24
764 | 2.65 | 7.2162e-24
766 | 2.65 | 7.5979e-24
768 | 2.65 | 8.0421e-24
770 | 2.65 | 8.4896e-24
772 | 2.65 | 8.9964e-24
774 | 2.65 | 9.5163e-24
776 | 2.65 | 1.0188e-23
778 | 2.65 | 1.0734e-23
780 | 2.65 | 1.1392e-23
380 | 2.7 | 1.0282e-24
382 | 2.7 | 1.0282e-24
384 | 2.7 | 9.7946e-25
386 | 2.7 | 9.5656e-25
388 | 2.7 | 9.3819e-25
390 | 2.7 | 9.0324e-25
392 | 2.7 | 8.7934e-25
394 | 2.7 | 8.3491e-25
396 | 2.7 | 8.2129e-25
398 | 2.7 | 7.8772e-25
400 | 2.7 | 7.4585e-25
402 | 2.7 | 7.2117e-25
404 | 2.7 | 6.9293e-25
406 | 2.7 | 6.5739e-25
408 | 2.7 | 6.2974e-25
410 | 2.7 | 6.0032e-25
412 | 2.7 | 5.7267e-25
414 | 2.7 | 5.5134e-25
416 | 2.7 | 5.3081e-25
418 | 2.7 | 5.0889e-25
420 | 2.7 | 4.8953e-25
422 | 2.7 | 0.00061434
424 | 2.7 | 0.0019445
426 | 2.7 | 0.0041331
428 | 2.7 | 0.0068898
430 | 2.7 | 0.010853
432 | 2.7 | 0.016673
434 | 2.7 | 0.024842
436 | 2.7 | 0.036039
438 | 2.7 | 0.05158
440 | 2.7 | 0.075968
442 | 2.7 | 0.10707
444 | 2.7 | 0.14818
446 | 2.7 | 0.20893
448 | 2.7 | 0.28811
450 | 2.7 | 0.39179
452 | 2.7 | 0.52212
454 | 2.7 | 0.68543
456 | 2.7 | 0.83926
458 | 2.7 | 0.95083
460 | 2.7 | 1
462 | 2.7 | 0.98282
464 | 2.7 | 0.90107
466 | 2.7 | 0.77488
468 | 2.7 | 0.62875
470 | 2.7 | 0.51402
472 | 2.7 | 0.42634
474 | 2.7 | 0.36019
476 | 2.7 | 0.30628
478 | 2.7 | 0.25987
480 | 2.7 | 0.21505
482 | 2.7 | 0.17018
484 | 2.7 | 0.13789
486 | 2.7 | 0.1108
488 | 2.7 | 0.089593
490 | 2.7 | 0.073085
492 | 2.7 | 0.060881
494 | 2.7 | 0.050355
496 | 2.7 | 0.040739
498 | 2.7 | 0.033314
500 | 2.7 | 0.027133
502 | 2.7 | 0.02186
504 | 2.7 | 0.017435
506 | 2.7 | 0.013714
508 | 2.7 | 0.010559
510 | 2.7 | 0.0086157
512 | 2.7 | 0.0068503
514 | 2.7 | 0.0053811
516 | 2.7 | 0.0041489
518 | 2.7 | 0.0029542
520 | 2.7 | 0.0021485
522 | 2.7 | 0.0015557
524 | 2.7 | 0.0008748
526 | 2.7 | 0.00044925
528 | 2.7 | 0.00020735
530 | 2.7 | 0.00011799
532 | 2.7 | 6.1848e-06
534 | 2.7 | 3.7934e-25
536 | 2.7 | 3.7816e-25
538 | 2.7 | 3.7658e-25
540 | 2.7 | 3.748e-25
542 | 2.7 | 3.7362e-25
544 | 2.7 | 3.7184e-25
546 | 2.7 | 3.7085e-25
548 | 2.7 | 3.6789e-25
550 | 2.7 | 3.675e-25
552 | 2.7 | 3.6809e-25
554 | 2.7 | 3.6888e-25
556 | 2.7 | 3.6967e-25
558 | 2.7 | 3.7145e-25
560 | 2.7 | 3.7303e-25
562 | 2.7 | 3.7539e-25
564 | 2.7 | 3.7796e-25
566 | 2.7 | 3.8013e-25
568 | 2.7 | 3.825e-25
570 | 2.7 | 3.8566e-25
572 | 2.7 | 3.8882e-25
574 | 2.7 | 3.9317e-25
576 | 2.7 | 3.9791e-25
578 | 2.7 | 4.0383e-25
580 | 2.7 | 4.1055e-25
582 | 2.7 | 4.1785e-25
584 | 2.7 | 4.2595e-25
586 | 2.7 | 4.3503e-25
588 | 2.7 | 4.451e-25
590 | 2.7 | 4.5853e-25
592 | 2.7 | 4.69e-25
594 | 2.7 | 4.7946e-25
596 | 2.7 | 4.8776e-25
598 | 2.7 | 5.0178e-25
600 | 2.7 | 5.1343e-25
602 | 2.7 | 5.2409e-25
604 | 2.7 | 5.3555e-25
606 | 2.7 | 5.468e-25
608 | 2.7 | 5.5786e-25
610 | 2.7 | 5.6892e-25
612 | 2.7 | 5.7978e-25
614 | 2.7 | 5.9143e-25
616 | 2.7 | 6.0585e-25
618 | 2.7 | 6.171e-25
620 | 2.7 | 6.2915e-25
622 | 2.7 | 6.41e-25
624 | 2.7 | 6.56e-25
626 | 2.7 | 6.6825e-25
628 | 2.7 | 6.8069e-25
630 | 2.7 | 6.9273e-25
632 | 2.7 | 7.0537e-25
634 | 2.7 | 7.2097e-25
636 | 2.7 | 7.34e-25
638 | 2.7 | 7.4605e-25
640 | 2.7 | 7.6363e-25
642 | 2.7 | 7.7389e-25
644 | 2.7 | 7.8712e-25
646 | 2.7 | 8.0075e-25
648 | 2.7 | 8.1536e-25
650 | 2.7 | 8.3452e-25
652 | 2.7 | 8.4834e-25
654 | 2.7 | 8.5881e-25
656 | 2.7 | 8.7678e-25
658 | 2.7 | 8.9119e-25
660 | 2.7 | 9.062e-25
662 | 2.7 | 9.2081e-25
664 | 2.7 | 9.3523e-25
666 | 2.7 | 9.5004e-25
668 | 2.7 | 9.6959e-25
670 | 2.7 | 9.8124e-25
672 | 2.7 | 9.998e-25
674 | 2.7 | 1.016e-24
676 | 2.7 | 1.032e-24
678 | 2.7 | 1.0488e-24
680 | 2.7 | 1.0658e-24
682 | 2.7 | 1.0869e-24
684 | 2.7 | 1.1045e-24
686 | 2.7 | 1.1248e-24
688 | 2.7 | 1.1442e-24
690 | 2.7 | 1.1643e-24
692 | 2.7 | 1.1882e-24
694 | 2.7 | 1.2093e-24
696 | 2.7 | 1.2308e-24
698 | 2.7 | 1.2512e-24
700 | 2.7 | 1.2727e-24
702 | 2.7 | 1.3009e-24
704 | 2.7 | 1.3262e-24
706 | 2.7 | 1.3517e-24
708 | 2.7 | 1.3772e-24
710 | 2.7 | 1.407e-24
712 | 2.7 | 1.4449e-24
714 | 2.7 | 1.4781e-24
716 | 2.7 | 1.5197e-24
718 | 2.7 | 1.5598e-24
720 | 2.7 | 1.607e-24
722 | 2.7 | 1.6592e-24
724 | 2.7 | 1.7137e-24
726 | 2.7 | 1.7697e-24
728 | 2.7 | 1.8406e-24
730 | 2.7 | 1.9153e-24
732 | 2.7 | 1.9866e-24
734 | 2.7 | 2.0774e-24
736 | 2.7 | 2.1603e-24
738 | 2.7 | 2.263e-24
740 | 2.7 | 2.3756e-24
742 | 2.7 | 2.4724e-24
744 | 2.7 | 2.6007e-24
746 | 2.7 | 2.7271e-24
748 | 2.7 | 2.8614e-24
750 | 2.7 | 2.9937e-24
752 | 2.7 | 3.1615e-24
754 | 2.7 | 3.3412e-24
756 | 2.7 | 3.513e-24
758 | 2.7 | 3.6829e-24
760 | 2.7 | 3.9021e-24
762 | 2.7 | 4.1212e-24
764 | 2.7 | 4.3306e-24
766 | 2.7 | 4.5596e-24
768 | 2.7 | 4.8262e-24
770 | 2.7 | 5.0948e-24
772 | 2.7 | 5.3989e-24
774 | 2.7 | 5.7109e-24
776 | 2.7 | 6.1137e-24
778 | 2.7 | 6.4415e-24
780 | 2.7 | 6.8365e-24
380 | 2.75 | 6.8685e-25
382 | 2.75 | 6.8685e-25
384 | 2.75 | 6.5427e-25
386 | 2.75 | 6.3897e-25
388 | 2.75 | 6.267e-25
390 | 2.75 | 6.0335e-25
392 | 2.75 | 5.8739e-25
394 | 2.75 | 5.5771e-25
396 | 2.75 | 5.4861e-25
398 | 2.75 | 5.2618e-25
400 | 2.75 | 4.9822e-25
402 | 2.75 | 4.8173e-25
404 | 2.75 | 4.6287e-25
406 | 2.75 | 4.3912e-25
408 | 2.75 | 4.2066e-25
410 | 2.75 | 4.01e-25
412 | 2.75 | 3.8254e-25
414 | 2.75 | 3.6829e-25
416 | 2.75 | 3.5457e-25
418 | 2.75 | 3.3993e-25
420 | 2.75 | 0.00029046
422 | 2.75 | 0.0011619
424 | 2.75 | 0.0025973
426 | 2.75 | 0.0049479
428 | 2.75 | 0.0081282
430 | 2.75 | 0.012684
432 | 2.75 | 0.019021
434 | 2.75 | 0.028149
436 | 2.75 | 0.040681
438 | 2.75 | 0.057763
440 | 2.75 | 0.084422
442 | 2.75 | 0.11827
444 | 2.75 | 0.16304
446 | 2.75 | 0.2286
448 | 2.75 | 0.31302
450 | 2.75 | 0.42158
452 | 2.75 | 0.55441
454 | 2.75 | 0.71587
456 | 2.75 | 0.86176
458 | 2.75 | 0.96241
460 | 2.75 | 1
462 | 2.75 | 0.97362
464 | 2.75 | 0.88656
466 | 2.75 | 0.75993
468 | 2.75 | 0.61667
470 | 2.75 | 0.50561
472 | 2.75 | 0.42079
474 | 2.75 | 0.35563
476 | 2.75 | 0.30194
478 | 2.75 | 0.25564
480 | 2.75 | 0.21105
482 | 2.75 | 0.16647
484 | 2.75 | 0.13521
486 | 2.75 | 0.109
488 | 2.75 | 0.088247
490 | 2.75 | 0.072154
492 | 2.75 | 0.060018
494 | 2.75 | 0.04973
496 | 2.75 | 0.040166
498 | 2.75 | 0.032858
500 | 2.75 | 0.026883
502 | 2.75 | 0.021765
504 | 2.75 | 0.017412
506 | 2.75 | 0.013771
508 | 2.75 | 0.01093
510 | 2.75 | 0.0089302
512 | 2.75 | 0.0072589
514 | 2.75 | 0.0057644
516 | 2.75 | 0.0045139
518 | 2.75 | 0.0035009
520 | 2.75 | 0.0026751
522 | 2.75 | 0.0018876
524 | 2.75 | 0.0012519
526 | 2.75 | 0.00082166
528 | 2.75 | 0.0005556
530 | 2.75 | 0.0001455
532 | 2.75 | 4.0179e-06
534 | 2.75 | 2.534e-25
536 | 2.75 | 2.5261e-25
538 | 2.75 | 2.5155e-25
540 | 2.75 | 2.5036e-25
542 | 2.75 | 2.4957e-25
544 | 2.75 | 2.4838e-25
546 | 2.75 | 2.4772e-25
548 | 2.75 | 2.4575e-25
550 | 2.75 | 2.4548e-25
552 | 2.75 | 2.4588e-25
554 | 2.75 | 2.4641e-25
556 | 2.75 | 2.4693e-25
558 | 2.75 | 2.4812e-25
560 | 2.75 | 2.4918e-25
562 | 2.75 | 2.5076e-25
564 | 2.75 | 2.5247e-25
566 | 2.75 | 2.5392e-25
568 | 2.75 | 2.5551e-25
570 | 2.75 | 2.5762e-25
572 | 2.75 | 2.5973e-25
574 | 2.75 | 2.6263e-25
576 | 2.75 | 2.658e-25
578 | 2.75 | 2.6975e-25
580 | 2.75 | 2.7424e-25
582 | 2.75 | 2.7912e-25
584 | 2.75 | 2.8453e-25
586 | 2.75 | 2.9059e-25
588 | 2.75 | 2.9732e-25
590 | 2.75 | 3.0629e-25
592 | 2.75 | 3.1328e-25
594 | 2.75 | 3.2027e-25
596 | 2.75 | 3.2581e-25
598 | 2.75 | 3.3518e-25
600 | 2.75 | 3.4296e-25
602 | 2.75 | 3.5009e-25
604 | 2.75 | 3.5774e-25
606 | 2.75 | 3.6526e-25
608 | 2.75 | 3.7264e-25
610 | 2.75 | 3.8003e-25
612 | 2.75 | 3.8728e-25
614 | 2.75 | 3.9507e-25
616 | 2.75 | 4.047e-25
618 | 2.75 | 4.1221e-25
620 | 2.75 | 4.2026e-25
622 | 2.75 | 4.2818e-25
624 | 2.75 | 4.382e-25
626 | 2.75 | 4.4638e-25
628 | 2.75 | 4.5469e-25
630 | 2.75 | 4.6274e-25
632 | 2.75 | 4.7118e-25
634 | 2.75 | 4.816e-25
636 | 2.75 | 4.903e-25
638 | 2.75 | 4.9835e-25
640 | 2.75 | 5.1009e-25
642 | 2.75 | 5.1695e-25
644 | 2.75 | 5.2579e-25
646 | 2.75 | 5.3489e-25
648 | 2.75 | 5.4465e-25
650 | 2.75 | 5.5745e-25
652 | 2.75 | 5.6668e-25
654 | 2.75 | 5.7367e-25
656 | 2.75 | 5.8567e-25
658 | 2.75 | 5.953e-25
660 | 2.75 | 6.0533e-25
662 | 2.75 | 6.1509e-25
664 | 2.75 | 6.2472e-25
666 | 2.75 | 6.3461e-25
668 | 2.75 | 6.4767e-25
670 | 2.75 | 6.5545e-25
672 | 2.75 | 6.6785e-25
674 | 2.75 | 6.7867e-25
676 | 2.75 | 6.8935e-25
678 | 2.75 | 7.0057e-25
680 | 2.75 | 7.1191e-25
682 | 2.75 | 7.2603e-25
684 | 2.75 | 7.3777e-25
686 | 2.75 | 7.5135e-25
688 | 2.75 | 7.6428e-25
690 | 2.75 | 7.7773e-25
692 | 2.75 | 7.9369e-25
694 | 2.75 | 8.0781e-25
696 | 2.75 | 8.2219e-25
698 | 2.75 | 8.3577e-25
700 | 2.75 | 8.5015e-25
702 | 2.75 | 8.6901e-25
704 | 2.75 | 8.859e-25
706 | 2.75 | 9.0292e-25
708 | 2.75 | 9.1993e-25
710 | 2.75 | 9.3985e-25
712 | 2.75 | 9.6518e-25
714 | 2.75 | 9.8734e-25
716 | 2.75 | 1.0152e-24
718 | 2.75 | 1.0419e-24
720 | 2.75 | 1.0735e-24
722 | 2.75 | 1.1083e-24
724 | 2.75 | 1.1447e-24
726 | 2.75 | 1.1822e-24
728 | 2.75 | 1.2295e-24
730 | 2.75 | 1.2794e-24
732 | 2.75 | 1.327e-24
734 | 2.75 | 1.3877e-24
736 | 2.75 | 1.4431e-24
738 | 2.75 | 1.5117e-24
740 | 2.75 | 1.5869e-24
742 | 2.75 | 1.6515e-24
744 | 2.75 | 1.7372e-24
746 | 2.75 | 1.8217e-24
748 | 2.75 | 1.9114e-24
750 | 2.75 | 1.9997e-24
752 | 2.75 | 2.1119e-24
754 | 2.75 | 2.2319e-24
756 | 2.75 | 2.3467e-24
758 | 2.75 | 2.4601e-24
760 | 2.75 | 2.6065e-24
762 | 2.75 | 2.7529e-24
764 | 2.75 | 2.8928e-24
766 | 2.75 | 3.0458e-24
768 | 2.75 | 3.2238e-24
770 | 2.75 | 3.4032e-24
772 | 2.75 | 3.6064e-24
774 | 2.75 | 3.8148e-24
776 | 2.75 | 4.0839e-24
778 | 2.75 | 4.3029e-24
780 | 2.75 | 4.5667e-24
380 | 2.8 | 4.9638e-25
382 | 2.8 | 4.9638e-25
384 | 2.8 | 4.7283e-25
386 | 2.8 | 4.6177e-25
388 | 2.8 | 4.5291e-25
390 | 2.8 | 4.3603e-25
392 | 2.8 | 4.245e-25
394 | 2.8 | 4.0305e-25
396 | 2.8 | 3.9647e-25
398 | 2.8 | 3.8027e-25
400 | 2.8 | 3.6006e-25
402 | 2.8 | 3.4814e-25
404 | 2.8 | 3.3451e-25
406 | 2.8 | 3.1735e-25
408 | 2.8 | 3.04e-25
410 | 2.8 | 2.898e-25
412 | 2.8 | 2.7645e-25
414 | 2.8 | 2.6616e-25
416 | 2.8 | 2.5624e-25
418 | 2.8 | 5.8074e-05
420 | 2.8 | 0.0006959
422 | 2.8 | 0.0018513
424 | 2.8 | 0.0035558
426 | 2.8 | 0.0062135
428 | 2.8 | 0.0098951
430 | 2.8 | 0.015043
432 | 2.8 | 0.022402
434 | 2.8 | 0.032726
436 | 2.8 | 0.046749
438 | 2.8 | 0.065653
440 | 2.8 | 0.095272
442 | 2.8 | 0.13241
444 | 2.8 | 0.18103
446 | 2.8 | 0.25148
448 | 2.8 | 0.34042
450 | 2.8 | 0.45224
452 | 2.8 | 0.58561
454 | 2.8 | 0.74242
456 | 2.8 | 0.87884
458 | 2.8 | 0.96854
460 | 2.8 | 1
462 | 2.8 | 0.97235
464 | 2.8 | 0.88589
466 | 2.8 | 0.75853
468 | 2.8 | 0.61611
470 | 2.8 | 0.50639
472 | 2.8 | 0.42221
474 | 2.8 | 0.35691
476 | 2.8 | 0.30248
478 | 2.8 | 0.25558
480 | 2.8 | 0.21087
482 | 2.8 | 0.16644
484 | 2.8 | 0.13556
486 | 2.8 | 0.10953
488 | 2.8 | 0.08897
490 | 2.8 | 0.072717
492 | 2.8 | 0.060429
494 | 2.8 | 0.050143
496 | 2.8 | 0.040372
498 | 2.8 | 0.032888
500 | 2.8 | 0.026873
502 | 2.8 | 0.021811
504 | 2.8 | 0.017541
506 | 2.8 | 0.013813
508 | 2.8 | 0.010858
510 | 2.8 | 0.0088665
512 | 2.8 | 0.0072383
514 | 2.8 | 0.0057378
516 | 2.8 | 0.0044938
518 | 2.8 | 0.0035291
520 | 2.8 | 0.0025758
522 | 2.8 | 0.0018427
524 | 2.8 | 0.0012564
526 | 2.8 | 0.00083375
528 | 2.8 | 0.00045434
530 | 2.8 | 0.00020639
532 | 2.8 | 4.164e-05
534 | 2.8 | 1.8313e-25
536 | 2.8 | 1.8255e-25
538 | 2.8 | 1.8179e-25
540 | 2.8 | 1.8093e-25
542 | 2.8 | 1.8036e-25
544 | 2.8 | 1.795e-25
546 | 2.8 | 1.7903e-25
548 | 2.8 | 1.776e-25
550 | 2.8 | 1.7741e-25
552 | 2.8 | 1.7769e-25
554 | 2.8 | 1.7807e-25
556 | 2.8 | 1.7846e-25
558 | 2.8 | 1.7931e-25
560 | 2.8 | 1.8008e-25
562 | 2.8 | 1.8122e-25
564 | 2.8 | 1.8246e-25
566 | 2.8 | 1.8351e-25
568 | 2.8 | 1.8465e-25
570 | 2.8 | 1.8618e-25
572 | 2.8 | 1.877e-25
574 | 2.8 | 1.898e-25
576 | 2.8 | 1.9209e-25
578 | 2.8 | 1.9495e-25
580 | 2.8 | 1.9819e-25
582 | 2.8 | 2.0172e-25
584 | 2.8 | 2.0562e-25
586 | 2.8 | 2.1001e-25
588 | 2.8 | 2.1487e-25
590 | 2.8 | 2.2135e-25
592 | 2.8 | 2.2641e-25
594 | 2.8 | 2.3146e-25
596 | 2.8 | 2.3546e-25
598 | 2.8 | 2.4223e-25
600 | 2.8 | 2.4786e-25
602 | 2.8 | 2.53e-25
604 | 2.8 | 2.5853e-25
606 | 2.8 | 2.6397e-25
608 | 2.8 | 2.693e-25
610 | 2.8 | 2.7464e-25
612 | 2.8 | 2.7989e-25
614 | 2.8 | 2.8551e-25
616 | 2.8 | 2.9247e-25
618 | 2.8 | 2.979e-25
620 | 2.8 | 3.0372e-25
622 | 2.8 | 3.0944e-25
624 | 2.8 | 3.1668e-25
626 | 2.8 | 3.2259e-25
628 | 2.8 | 3.286e-25
630 | 2.8 | 3.3441e-25
632 | 2.8 | 3.4051e-25
634 | 2.8 | 3.4805e-25
636 | 2.8 | 3.5434e-25
638 | 2.8 | 3.6015e-25
640 | 2.8 | 3.6864e-25
642 | 2.8 | 3.7359e-25
644 | 2.8 | 3.7998e-25
646 | 2.8 | 3.8656e-25
648 | 2.8 | 3.9361e-25
650 | 2.8 | 4.0286e-25
652 | 2.8 | 4.0953e-25
654 | 2.8 | 4.1459e-25
656 | 2.8 | 4.2326e-25
658 | 2.8 | 4.3022e-25
660 | 2.8 | 4.3746e-25
662 | 2.8 | 4.4452e-25
664 | 2.8 | 4.5148e-25
666 | 2.8 | 4.5863e-25
668 | 2.8 | 4.6806e-25
670 | 2.8 | 4.7369e-25
672 | 2.8 | 4.8265e-25
674 | 2.8 | 4.9047e-25
676 | 2.8 | 4.9819e-25
678 | 2.8 | 5.0629e-25
680 | 2.8 | 5.1449e-25
682 | 2.8 | 5.2469e-25
684 | 2.8 | 5.3317e-25
686 | 2.8 | 5.4299e-25
688 | 2.8 | 5.5234e-25
690 | 2.8 | 5.6206e-25
692 | 2.8 | 5.7359e-25
694 | 2.8 | 5.8379e-25
696 | 2.8 | 5.9418e-25
698 | 2.8 | 6.04e-25
700 | 2.8 | 6.1439e-25
702 | 2.8 | 6.2803e-25
704 | 2.8 | 6.4023e-25
706 | 2.8 | 6.5253e-25
708 | 2.8 | 6.6482e-25
710 | 2.8 | 6.7922e-25
712 | 2.8 | 6.9752e-25
714 | 2.8 | 7.1354e-25
716 | 2.8 | 7.3365e-25
718 | 2.8 | 7.53e-25
720 | 2.8 | 7.7579e-25
722 | 2.8 | 8.0095e-25
724 | 2.8 | 8.2726e-25
726 | 2.8 | 8.5434e-25
728 | 2.8 | 8.8856e-25
730 | 2.8 | 9.2459e-25
732 | 2.8 | 9.5901e-25
734 | 2.8 | 1.0029e-24
736 | 2.8 | 1.0429e-24
738 | 2.8 | 1.0925e-24
740 | 2.8 | 1.1468e-24
742 | 2.8 | 1.1935e-24
744 | 2.8 | 1.2555e-24
746 | 2.8 | 1.3165e-24
748 | 2.8 | 1.3813e-24
750 | 2.8 | 1.4452e-24
752 | 2.8 | 1.5262e-24
754 | 2.8 | 1.613e-24
756 | 2.8 | 1.6959e-24
758 | 2.8 | 1.7779e-24
760 | 2.8 | 1.8837e-24
762 | 2.8 | 1.9895e-24
764 | 2.8 | 2.0906e-24
766 | 2.8 | 2.2011e-24
768 | 2.8 | 2.3298e-24
770 | 2.8 | 2.4595e-24
772 | 2.8 | 2.6063e-24
774 | 2.8 | 2.7569e-24
776 | 2.8 | 2.9514e-24
778 | 2.8 | 3.1096e-24
780 | 2.8 | 3.3003e-24
380 | 2.85 | 3.8119e-25
382 | 2.85 | 3.8119e-25
384 | 2.85 | 3.631e-25
386 | 2.85 | 3.5461e-25
388 | 2.85 | 3.478e-25
390 | 2.85 | 3.3485e-25
392 | 2.85 | 3.2599e-25
394 | 2.85 | 3.0952e-25
396 | 2.85 | 3.0447e-25
398 | 2.85 | 2.9202e-25
400 | 2.85 | 2.765e-25
402 | 2.85 | 2.6735e-25
404 | 2.85 | 2.5688e-25
406 | 2.85 | 2.437e-25
408 | 2.85 | 2.3346e-25
410 | 2.85 | 2.2255e-25
412 | 2.85 | 2.123e-25
414 | 2.85 | 2.0439e-25
416 | 2.85 | 1.9678e-25
418 | 2.85 | 0.00035293
420 | 2.85 | 0.0012408
422 | 2.85 | 0.0025432
424 | 2.85 | 0.0044846
426 | 2.85 | 0.0077452
428 | 2.85 | 0.012064
430 | 2.85 | 0.017972
432 | 2.85 | 0.026501
434 | 2.85 | 0.03828
436 | 2.85 | 0.054209
438 | 2.85 | 0.075476
440 | 2.85 | 0.10842
442 | 2.85 | 0.14927
444 | 2.85 | 0.20205
446 | 2.85 | 0.27731
448 | 2.85 | 0.37035
450 | 2.85 | 0.48419
452 | 2.85 | 0.61501
454 | 2.85 | 0.75988
456 | 2.85 | 0.88214
458 | 2.85 | 0.96486
460 | 2.85 | 1
462 | 2.85 | 0.98463
464 | 2.85 | 0.90849
466 | 2.85 | 0.78038
468 | 2.85 | 0.63082
470 | 2.85 | 0.51764
472 | 2.85 | 0.43141
474 | 2.85 | 0.36413
476 | 2.85 | 0.30813
478 | 2.85 | 0.26018
480 | 2.85 | 0.21479
482 | 2.85 | 0.17013
484 | 2.85 | 0.13895
486 | 2.85 | 0.11266
488 | 2.85 | 0.091654
490 | 2.85 | 0.075037
492 | 2.85 | 0.062416
494 | 2.85 | 0.051501
496 | 2.85 | 0.041435
498 | 2.85 | 0.033873
500 | 2.85 | 0.027723
502 | 2.85 | 0.022504
504 | 2.85 | 0.018221
506 | 2.85 | 0.01448
508 | 2.85 | 0.011384
510 | 2.85 | 0.0092899
512 | 2.85 | 0.0075476
514 | 2.85 | 0.0060051
516 | 2.85 | 0.0047064
518 | 2.85 | 0.0036633
520 | 2.85 | 0.0027555
522 | 2.85 | 0.0021669
524 | 2.85 | 0.001549
526 | 2.85 | 0.0010176
528 | 2.85 | 0.00064729
530 | 2.85 | 0.00042584
532 | 2.85 | 6.7533e-05
534 | 2.85 | 1.4063e-25
536 | 2.85 | 1.4019e-25
538 | 2.85 | 1.396e-25
540 | 2.85 | 1.3895e-25
542 | 2.85 | 1.3851e-25
544 | 2.85 | 1.3785e-25
546 | 2.85 | 1.3748e-25
548 | 2.85 | 1.3638e-25
550 | 2.85 | 1.3624e-25
552 | 2.85 | 1.3646e-25
554 | 2.85 | 1.3675e-25
556 | 2.85 | 1.3704e-25
558 | 2.85 | 1.377e-25
560 | 2.85 | 1.3829e-25
562 | 2.85 | 1.3917e-25
564 | 2.85 | 1.4012e-25
566 | 2.85 | 1.4092e-25
568 | 2.85 | 1.418e-25
570 | 2.85 | 1.4297e-25
572 | 2.85 | 1.4414e-25
574 | 2.85 | 1.4575e-25
576 | 2.85 | 1.4751e-25
578 | 2.85 | 1.4971e-25
580 | 2.85 | 1.522e-25
582 | 2.85 | 1.549e-25
584 | 2.85 | 1.5791e-25
586 | 2.85 | 1.6127e-25
588 | 2.85 | 1.6501e-25
590 | 2.85 | 1.6999e-25
592 | 2.85 | 1.7387e-25
594 | 2.85 | 1.7775e-25
596 | 2.85 | 1.8082e-25
598 | 2.85 | 1.8602e-25
600 | 2.85 | 1.9034e-25
602 | 2.85 | 1.9429e-25
604 | 2.85 | 1.9854e-25
606 | 2.85 | 2.0271e-25
608 | 2.85 | 2.0681e-25
610 | 2.85 | 2.1091e-25
612 | 2.85 | 2.1493e-25
614 | 2.85 | 2.1925e-25
616 | 2.85 | 2.246e-25
618 | 2.85 | 2.2877e-25
620 | 2.85 | 2.3324e-25
622 | 2.85 | 2.3763e-25
624 | 2.85 | 2.4319e-25
626 | 2.85 | 2.4773e-25
628 | 2.85 | 2.5234e-25
630 | 2.85 | 2.5681e-25
632 | 2.85 | 2.6149e-25
634 | 2.85 | 2.6728e-25
636 | 2.85 | 2.7211e-25
638 | 2.85 | 2.7657e-25
640 | 2.85 | 2.8309e-25
642 | 2.85 | 2.869e-25
644 | 2.85 | 2.918e-25
646 | 2.85 | 2.9685e-25
648 | 2.85 | 3.0227e-25
650 | 2.85 | 3.0937e-25
652 | 2.85 | 3.1449e-25
654 | 2.85 | 3.1837e-25
656 | 2.85 | 3.2504e-25
658 | 2.85 | 3.3038e-25
660 | 2.85 | 3.3594e-25
662 | 2.85 | 3.4136e-25
664 | 2.85 | 3.4671e-25
666 | 2.85 | 3.522e-25
668 | 2.85 | 3.5944e-25
670 | 2.85 | 3.6376e-25
672 | 2.85 | 3.7064e-25
674 | 2.85 | 3.7665e-25
676 | 2.85 | 3.8258e-25
678 | 2.85 | 3.888e-25
680 | 2.85 | 3.951e-25
682 | 2.85 | 4.0293e-25
684 | 2.85 | 4.0944e-25
686 | 2.85 | 4.1698e-25
688 | 2.85 | 4.2416e-25
690 | 2.85 | 4.3163e-25
692 | 2.85 | 4.4048e-25
694 | 2.85 | 4.4832e-25
696 | 2.85 | 4.563e-25
698 | 2.85 | 4.6384e-25
700 | 2.85 | 4.7182e-25
702 | 2.85 | 4.8228e-25
704 | 2.85 | 4.9165e-25
706 | 2.85 | 5.011e-25
708 | 2.85 | 5.1054e-25
710 | 2.85 | 5.216e-25
712 | 2.85 | 5.3565e-25
714 | 2.85 | 5.4795e-25
716 | 2.85 | 5.634e-25
718 | 2.85 | 5.7826e-25
720 | 2.85 | 5.9575e-25
722 | 2.85 | 6.1508e-25
724 | 2.85 | 6.3529e-25
726 | 2.85 | 6.5608e-25
728 | 2.85 | 6.8236e-25
730 | 2.85 | 7.1003e-25
732 | 2.85 | 7.3646e-25
734 | 2.85 | 7.7013e-25
736 | 2.85 | 8.0088e-25
738 | 2.85 | 8.3895e-25
740 | 2.85 | 8.8067e-25
742 | 2.85 | 9.1654e-25
744 | 2.85 | 9.6413e-25
746 | 2.85 | 1.011e-24
748 | 2.85 | 1.0608e-24
750 | 2.85 | 1.1098e-24
752 | 2.85 | 1.172e-24
754 | 2.85 | 1.2387e-24
756 | 2.85 | 1.3023e-24
758 | 2.85 | 1.3653e-24
760 | 2.85 | 1.4466e-24
762 | 2.85 | 1.5278e-24
764 | 2.85 | 1.6054e-24
766 | 2.85 | 1.6903e-24
768 | 2.85 | 1.7892e-24
770 | 2.85 | 1.8887e-24
772 | 2.85 | 2.0015e-24
774 | 2.85 | 2.1171e-24
776 | 2.85 | 2.2665e-24
778 | 2.85 | 2.388e-24
780 | 2.85 | 2.5344e-24